## Slide 1: A Cloud solution for telemetry data
AgI
(Named after Silver Iodide that is used to seed clouds)

## Slide 2: What is telemetry?
A collection of reads of a sensor over time
Regular reads or irregular a.k.a. events
{ “point”: 180, “epoch”: 1234567, value: 14.6}
Where/What, When, , Read
Examples: Temperature, Wind direction & speed, Alerts.

## Slide 3: How is it used?
Monitor, control end devices (SCADA)
Alerts, troubleshooting, respond
Operational efficiency: KPI, decision support
Predictive maintenance
Settlement

## Slide 4: Data processing requirements
Data Ingestion
Summarization (rollup), manipulation
Graphing, reporting
Retention policy
Resilient, scalable
Subscribe (update live feed)
Alerts (live update)
Data science on streams

## Slide 5: Technology stack
Time series database (influxDB)
Telegraf (ingestion)
Kapacitor (Alerts calculation, aggregation? & notification)
Grafana (Visualization)
Spark Streaming? (Machine learning)
Load balancer (Softlayer)
VSs for load simulation. Historical SCADA data

## Slide 6: Architecture overview

## Slide 7: Deployment diagram

## Slide 8: Cluster monitor

## Slide 9: Grafana Dashboard: Monitoring

## Slide 10: Query performance

## Slide 11: Data processing requirements
Data Ingestion (Crickets. Bulk ~160k/sec)
Summarization (rollup), manipulation
Graphing, reporting (Grafana, D3 app)
Retention policy (InfluxDB, built in)
Resilient, scalable (InflxuDB, built in)
Subscribe (update live feed)
Alerts (live update) (Kapacitor)
Data science on streams

## Slide 12: To Do’s
Setup more crickets
Create aggregators
Use Kapacitor (alerts)
Notifications
Setup Spark streaming for ML (if time permits)